## Calculator (hidden)
| UNS | UNG | UHS | UEX | UHG | URS | URG | OB PDV-65 | OB PDV-100 | OB PVR | Joslyn ZNP | Joslyn ZHP | Joslyn ZJP |  |  | UNS | UNG | UHS | UEX | UHG | URS | URG | OB PDV-65 | OB PDV-100 | OB PVR | Joslyn ZNP | Joslyn ZHP | Joslyn ZJP
3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
21 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 21 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
24 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 24 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
27 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 27 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
30 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 30 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
33 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 33 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
36 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 36 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Arrester Selection Logic and Calculations
[31 empty] | Arrester Model | Maximum Line to ground voltage of the system based on regulation error | Minimum MCOV Rating without taking TOV into account | TOV Capabilities @ the Selected time on input page | Minimum MCOV taking fault TOV into account (kV) | Arrester rating that exceeds the minimum MCOV | Arrester Selection after design availability check.\
|  | Normal Duty |  |  |  | Heavy Duty & EX |  |  |  |  | Riser Pole | [5 empty] | Normal Duty |  |  |  | Heavy Duty & EX |  |  |  |  | Riser Pole
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | VariStar | 8.0021 | 10 | #N/A | #N/A | #N/A | #N/A
| Joslyn ZNP ND | OB PDV-65 ND | UltraSIL ND VariSTAR | UltraSIL ND VariGAP | Joslyn ZHP HD | OB PDV-100 HD | UltraSIL HD VariSTAR | UltraSIL EX | UltraSIL HD VariGAP | Joslyn ZJP RP | OB PVR RP | UltraSIL RP VariSTAR | UltraSIL RP VariGAP |  |  | Joslyn ZNP ND | OB PDV-65 ND | UltraSIL ND VariSTAR | UltraSIL ND VariGAP | Joslyn ZHP HD | OB PDV-100 HD | UltraSIL HD VariSTAR | UltraSIL EX | UltraSIL HD VariGAP | Joslyn ZJP RP | OB PVR RP | UltraSIL RP VariSTAR | UltraSIL RP VariGAP |  |  | VariGAP | 8.0021 | 10 | #N/A | #N/A | #N/A | #N/A
MOP | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | MOP | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | Joslyn | 8.0021 | 10 | #N/A | #N/A | #N/A | #N/A
[31 empty] | OB | 8.0021 | 10 | #N/A | #N/A | #N/A | #N/A
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Joslyn ZNP ND | OB PDV-65 ND | UltraSIL ND VariSTAR | UltraSIL ND VariGAP | Joslyn ZHP HD | OB PDV-100 HD | UltraSIL HD VariSTAR | UltraSIL EX | UltraSIL HD VariGAP | Joslyn ZJP RP | OB PVR RP | UltraSIL RP VariSTAR | UltraSIL RP VariGAP |  |  | Joslyn ZNP ND | OB PDV-65 ND | UltraSIL ND VariSTAR | UltraSIL ND VariGAP | Joslyn ZHP HD | OB PDV-100 HD | UltraSIL HD VariSTAR | UltraSIL EX | UltraSIL HD VariGAP | Joslyn ZJP RP | OB PVR RP | UltraSIL RP VariSTAR | UltraSIL RP VariGAP
DV | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | DV | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | BIL Selection Table |  |  | Cross Reference table between MCOV and Rating | [5 empty] | Cost of Energy |  |  | System Voltage |  |  | Regulation Error
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 1 | 70 | [7 empty] | 1 | 2 |  | 1 | 2.33 |  | 1 | 2
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 2 | 95 |  |  | Typical Arrester Ratings |  |  |  |  | 2 | 2.5 |  | 2 | 2.4 |  | 2 | 2.5
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 3 | 125 |  |  | Rating | MCOV |  |  |  | 3 | 3 |  | 3 | 3.3 |  | 3 | 3
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 4 | 150 |  |  | 3 | 2.55 |  |  |  | 4 | 3.5 |  | 4 | 4.16 |  | 4 | 3.5
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 5 | 200 |  |  | 6 | 5.1 |  |  |  | 5 | 4 |  | 5 | 4.8 |  | 5 | 4
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 6 | 300 |  |  | 9 | 7.65 |  |  |  | 6 | 4.5 |  | 6 | 6.6 |  | 6 | 4.5
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Selected Row-------> |  | 2 |  |  | 10 | 8.4 |  |  |  | 7 | 5 |  | 7 | 6.9 |  | 7 | 5
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | Selected Cost-------> |  | 95 |  |  | 12 | 10.2 |  |  |  | 8 | 5.5 |  | 8 | 8.32 |  | 8 | 5.5
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 15 | 12.7 |  |  |  | 9 | 6 |  | 9 | 10 |  | 9 | 6
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 18 | 15.3 |  |  |  | 10 | 6.5 |  | 10 | 11 |  | 10 | 6.5
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 21 | 17 |  |  |  | 11 | 7 |  | 11 | 12 |  | 11 | 7
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 24 | 19.5 |  |  |  | 12 | 7.5 |  | 12 | 12.4 |  | 12 | 7.5
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [5 empty] | 27 | 22 |  |  |  | 13 | 8 |  | 13 | 13.2 |  | 13 | 8
[34 empty] | 30 | 24.4 |  |  |  | 14 | 8.5 |  | 14 | 13.8 |  | 14 | 8.5
[30 empty] | Aged BIL Selection as a % of original |  |  |  | 33 | 27.5 |  |  |  | 15 | 9 |  | 15 | 15 |  | 15 | 9
|  | This is the source data for comparative drop down list |  |  |  |  | Input Options for Arrester Type |  |  |  |  | Rating | MCOV | [7 empty] | This table is only used for loss calculations | [12 empty] | 36 | 29 |  |  |  | 16 | 9.5 |  | 16 | 20 |  | 16 | 9.5
[7 empty] | Normal Duty |  | 1 |  |  | 3 | 2.55 |  | Used for watts loss calculations |  |  |  | Lead Length Selection Table |  |  |  | Internal Watts Loss (w/kv) | External Watts (w/kv) when wet | [5 empty] | 1 | 80 | [7 empty] | 17 | 10 |  | 17 | 20.8 |  | 17 | 10
[7 empty] | Heavy Duty |  |  |  |  | 6 | 5.1 |  | 3 | 0.13 |  |  | Feet | [10 empty] | 2 | 50 | [7 empty] | 18 | 10.5 |  | 18 | 22 |  | 18 | 10.5
| 1 | UltraSIL ND VariSTAR |  |  |  |  | Riser Pole |  |  |  |  | 9 | 7.65 |  | Location | % wet |  |  | 1 | [10 empty] | 3 | 70 | [7 empty] | 19 | 11 |  | 19 | 22.9 |  | 19 | 11
| 2 | UltraSIL ND VariGAP | [9 empty] | 10 | 8.4 | 1 | Florida | 0.17 |  |  | 2 |  | Joslyn ZHP HD |  | 0.05 | 2.5 | [5 empty] | 4 | 75 | [7 empty] | 20 | 11.5 |  | 20 | 23 |  | 20 | 11.5
| 3 | UltraSIL EX | [9 empty] | 12 | 10.2 | 2 | Coastal | 0.16 |  |  | 3 |  | Joslyn ZJP RP |  | 0.14 | 2.25 | [5 empty] | 5 | 85 | [7 empty] | 21 | 12 |  | 21 | 24.9 |  | 21 | 12
| 4 | UltraSIL HD VariSTAR |  |  |  |  | This is the kv to add to the discharge voltage from the lead length |  |  | 0 |  | 15 | 12.7 | 3 | South East US | 0.13 |  |  | 4 |  | Joslyn ZNP ND |  | 0.03 | 1.75 | [5 empty] | 6 | 90 | [7 empty] | 22 | 12.5 |  | 22 | 27.6 | Selected Row-------> |  | 7
| 5 | UltraSIL HD VariGAP | [9 empty] | 18 | 15.3 | 4 | North East US | 0.1 |  |  | 5 |  | OB PDV-100 HD |  | 0.02 | 2.5 | [5 empty] | 7 | 95 | [7 empty] | 23 | 13 |  | 23 | 33 | Selected Error-------> |  | 5
| 6 | UltraSIL RP VariSTAR | [9 empty] | 21 | 17 | 5 | Midwest US | 0.05 |  |  | 6 |  | OB PDV-65 ND |  | 0.01 | 1.75 |  |  | Selected line and value-------> |  |  | 1 | 0.8 | [7 empty] | 24 | 13.5 |  | 24 | 34.5
| 7 | UltraSIL RP VariGAP | [9 empty] | 24 | 19.5 | 6 | Coastal Northwest | 0.23 |  |  | 7 |  | OB PVR RP |  | 0.02 | 2.5 |  |  | Aged BIL----------------------------> |  |  |  | 76 | [7 empty] | 25 | 14 | Selected Row-------> |  | 13
| 8 | OB PDV-65 ND | [9 empty] | 27 | 22 | 7 | Tropic | 0.26 |  |  | 8 |  | UltraSIL EX |  | 0.05 | 0.2 | [14 empty] | 26 | 14.5 | Selected Voltage-------> |  | 13.2
| 9 | OB PDV-100 HD | [9 empty] | 30 | 24.4 | 8 | Sub Tropic | 0.22 |  |  | 9 |  | UltraSIL HD VariGAP |  | 0.06 | 0.2 | [14 empty] | 27 | 15
| 10 | OB PVR RP |  |  |  |  | System Fault Factor Selection Table (From input page) |  |  |  |  | 33 | 27.5 | 9 | Southeast Asia | 0.26 |  |  | 10 |  | UltraSIL HD VariSTAR |  | 0.03 | 0.2 | [14 empty] | 28 | 15.5
| 11 | Joslyn ZNP ND | [7 empty] | Fault Factor |  | 36 | 29 | 10 |  |  |  |  | 15 |  | UltraSIL ND VariGAP |  | 0.05 | 0.2 | [14 empty] | 29 | 16
| 12 | Joslyn ZHP HD |  |  |  | 1 | Four Wire Multi-Grounded |  |  | 1 | [8 empty] | 20 |  | UltraSIL ND VariSTAR |  | 0.02 | 0.2 | [13 empty] | Selected Row-------> |  | 7
| 13 | Joslyn ZJP RP |  |  |  | 2 | Spacer Cable |  |  | 1.35 | [8 empty] | 30 |  | UltraSIL RP VariGAP |  | 0.06 | 0.2 | [13 empty] | Selected Cost-------> |  | 5
[6 empty] | 3 | Three Wire Low Impedance Grounded |  |  | 1.4 | [8 empty] | 40 |  | UltraSIL RP VariSTAR |  | 0.03 | 0.2
[6 empty] | 4 | Three Wire High Impedance Grounded |  |  | 1.73 | [8 empty] | 50
[6 empty] | 5 | Delta |  |  | 1.73 | [6 empty] | Results of selection --> |  | 1
[7 empty] | 1 | 1.35
This is the logic and selection table for the competitive comparison calculator
|  |  | Arr 1 |  |  | Arr 2 |  |  | Arr 3
Arrester Type Drop down position selected and Type Name --------> |  |  | 1 | UltraSIL ND VariSTAR |  | 8 | OB PDV-65 ND |  | 8 | OB PDV-65 ND
Arrester Rating Drop down location and Rating ------------> |  |  | 4 | 10 |  | 10 | 27 |  | 1 | 3
| UNS | UNG | UHS | UEX | UHG | URS | URG | OB PDV-65 | OB PDV-100 | OB PVR | Joslyn ZNP | Joslyn ZHP | Joslyn ZJP |  |  | UNS | UNG | UHS | UEX | UHG | URS | URG | OB PDV-65 | OB PDV-100 | OB PVR | Joslyn ZNP | Joslyn ZHP | Joslyn ZJP
3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
21 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 21 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
24 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 24 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
27 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 27 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
30 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 30 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
33 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 33 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
36 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 36 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 10 kV | 27 kV | 3 kV |  | 10 kV | 27 kV | 3 kV | [8 empty] | 10 kV | 27 kV | 3 kV |  | 10 kV | 27 kV | 3 kV
|  | UltraSIL ND VariSTAR | OB PDV-65 ND | OB PDV-65 ND |  | UltraSIL ND VariSTAR | OB PDV-65 ND | OB PDV-65 ND | [8 empty] | UltraSIL ND VariSTAR | OB PDV-65 ND | OB PDV-65 ND |  | UltraSIL ND VariSTAR | OB PDV-65 ND | OB PDV-65 ND
|  | #REF! | #REF! | #REF! |  | #N/A | #N/A | #N/A | [8 empty] | #REF! | #REF! | #REF! |  | #N/A | 0 | 0
ARR 1 |  | Normal Duty |  |  |  | Heavy Duty & EX |  |  |  |  | Riser Pole |  |  |  | ARR 1 |  | Normal Duty |  |  |  | Heavy Duty & EX |  |  |  |  | Riser Pole
| Joslyn ZNP ND | OB PDV-65 ND | UltraSIL ND VariSTAR | UltraSIL ND VariGAP | Joslyn ZHP HD | OB PDV-100 HD | UltraSIL HD VariSTAR | UltraSIL EX | UltraSIL HD VariGAP | Joslyn ZJP RP | OB PVR RP | UltraSIL RP VariSTAR | UltraSIL RP VariGAP |  |  | Joslyn ZNP ND | OB PDV-65 ND | UltraSIL ND VariSTAR | UltraSIL ND VariGAP | Joslyn ZHP HD | OB PDV-100 HD | UltraSIL HD VariSTAR | UltraSIL EX | UltraSIL HD VariGAP | Joslyn ZJP RP | OB PVR RP | UltraSIL RP VariSTAR | UltraSIL RP VariGAP
MOP | 0% | 0% | #REF! | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | MOP | 0% | 0% | #REF! | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
DV | 0 | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | DV | 0 | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ARR 2 |  | Normal Duty |  |  |  | Heavy Duty & EX |  |  |  |  | Riser Pole |  |  |  | ARR 2 |  | Normal Duty |  |  |  | Heavy Duty & EX |  |  |  |  | Riser Pole
| Joslyn ZNP ND | OB PDV-65 ND | UltraSIL ND VariSTAR | UltraSIL ND VariGAP | Joslyn ZHP HD | OB PDV-100 HD | UltraSIL HD VariSTAR | UltraSIL EX | UltraSIL HD VariGAP | Joslyn ZJP RP | OB PVR RP | UltraSIL RP VariSTAR | UltraSIL RP VariGAP |  |  | Joslyn ZNP ND | OB PDV-65 ND | UltraSIL ND VariSTAR | UltraSIL ND VariGAP | Joslyn ZHP HD | OB PDV-100 HD | UltraSIL HD VariSTAR | UltraSIL EX | UltraSIL HD VariGAP | Joslyn ZJP RP | OB PVR RP | UltraSIL RP VariSTAR | UltraSIL RP VariGAP
MOP | 0% | #REF! | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | MOP | 0% | #REF! | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
DV | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | DV | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ARR 3 |  | Normal Duty |  |  |  | Heavy Duty & EX |  |  |  |  | Riser Pole
| Joslyn ZNP ND | OB PDV-65 ND | UltraSIL ND VariSTAR | UltraSIL ND VariGAP | Joslyn ZHP HD | OB PDV-100 HD | UltraSIL HD VariSTAR | UltraSIL EX | UltraSIL HD VariGAP | Joslyn ZJP RP | OB PVR RP | UltraSIL RP VariSTAR | UltraSIL RP VariGAP |  | ARR 3 |  | Normal Duty |  |  |  | Heavy Duty & EX |  |  |  |  | Riser Pole
MOP | 0% | #REF! | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  |  | Joslyn ZNP ND | OB PDV-65 ND | UltraSIL ND VariSTAR | UltraSIL ND VariGAP | Joslyn ZHP HD | OB PDV-100 HD | UltraSIL HD VariSTAR | UltraSIL EX | UltraSIL HD VariGAP | Joslyn ZJP RP | OB PVR RP | UltraSIL RP VariSTAR | UltraSIL RP VariGAP
DV | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | MOP | 0% | #REF! | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
[15 empty] | DV | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[15 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
TOV Data | [6 empty] | Data for input screen
0.01
0.1
| This is the kv to add to the discharge voltage from the lead length |  |  | 0 | kV |  | 1
10
100
1000
10000
Infinite
Output of above Inquire
[7 empty] | 4 | 10
TOV Data
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Normal Duty |  |  |  | Heavy Duty & EX |  |  |  |  | Riser Pole
| Joslyn ZNP ND | OB PDV-65 ND | UltraSIL ND VariSTAR | UltraSIL ND VariGAP | Joslyn ZHP HD | OB PDV-100 HD | UltraSIL HD VariSTAR | UltraSIL EX | UltraSIL HD VariGAP | Joslyn ZJP RP | OB PVR RP | UltraSIL RP VariSTAR | UltraSIL RP VariGAP
| 0 | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Normal Duty |  |  |  | Heavy Duty & EX |  |  |  |  | Riser Pole
| Joslyn ZNP ND | OB PDV-65 ND | UltraSIL ND VariSTAR | UltraSIL ND VariGAP | Joslyn ZHP HD | OB PDV-100 HD | UltraSIL HD VariSTAR | UltraSIL EX | UltraSIL HD VariGAP | Joslyn ZJP RP | OB PVR RP | UltraSIL RP VariSTAR | UltraSIL RP VariGAP
| 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Normal Duty |  |  |  | Heavy Duty & EX |  |  |  |  | Riser Pole
| Joslyn ZNP ND | OB PDV-65 ND | UltraSIL ND VariSTAR | UltraSIL ND VariGAP | Joslyn ZHP HD | OB PDV-100 HD | UltraSIL HD VariSTAR | UltraSIL EX | UltraSIL HD VariGAP | Joslyn ZJP RP | OB PVR RP | UltraSIL RP VariSTAR | UltraSIL RP VariGAP
| 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 10 kV | 27 kV | 3 kV
|  | UltraSIL ND VariSTAR | OB PDV-65 ND | OB PDV-65 ND
|  | #N/A | #N/A | #N/A
|  | Normal Duty |  |  |  | Heavy Duty & EX |  |  |  |  | Riser Pole
| #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Joslyn ZNP ND | OB PDV-65 ND | UltraSIL ND VariSTAR | UltraSIL ND VariGAP | Joslyn ZHP HD | OB PDV-100 HD | UltraSIL HD VariSTAR | UltraSIL EX | UltraSIL HD VariGAP | Joslyn ZJP RP | OB PVR RP | UltraSIL RP VariSTAR | UltraSIL RP VariGAP
| #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Note on E127: Jon Woodworth: This value is the product of the lead length and 4kV/foot length for fast rising waves
Note on F43: This data comes from tests completed at Cooper
Note on H49: The voltage across the line and ground lead is 4kV/ft when using 10kA 8/20 impulse.
Note on J44: Jon Woodworth: This data us used in the internal watts loss calculation on the Recommend Section. It comes from the results of the decision in the combo box on input page asking the type of arresters. 1 if ND, 2 if HD and 3 If riser pole.
Note on K49: Jon Woodworth: This value is the product of the lead length and 4kV/foot length for fast rising waves
Note on W44: Preferred Customer: This data is used in calculating watts loss. Both internal and externl
Note on Z44: This data comes from tests completed at Cooper
Note on AH19: Jon Woodworth: The worst case long term line to ground voltage of the system selected on input page including regulation error.
Note on AI19: Jon Woodworth: Without taking TOV into account, this is the rating of an arrester with an MCOV above the long term line to ground voltage in the box to the left.
Note on AJ17: Per Unit TOV Rating for the Recommended Arrester for the entered time. Per unit of MCOV capability of the given arrester as looked up on Data2 worksheet (A134-N140) ( The type of arrester selected on Input page determines what colume of data is referred to in the table. This data is used below to determine the lowest possible rating an arrester can be based on its TOV capability at the given time duration. Note: I134 on Worksheet Data2 indicates which time to look up TOV capability for. Tabe A136 to N143 on Worksheet Data 2 is used for look up. The column used is given by Example (Choose( j44) 12, 13, 14) This says use first sec ond or third number in this list depending on what is in J44 which is given by the data input of type of arrester. This example is for joslyn only.
Note on AK17: Jon Woodworth: This is what the arrester MCOV needs to be taking the system type fault factor and the arrester type TOV. The fault factor comes from C62.22 and is located on Worksheet Data2 (h57-k62
Note on AK29: Jon Woodworth: This table is used above to assist in the selection of an arrester based on the type of system in use and the TOV capability of the arrester.
Interactive Comparison

## Inductance_Calculator
|  |  |  | Wire Gauge # | Radius in inches
Determine Inductance of the Lead
Inductance in uH = 0.002L [ln(2L/r) - .75] L = cm, r = cm
English units |  | Metric Equivalent |  | 1000MCM | 0.5765
|  |  |  | 500MCM | 0.4075
Input lead length (L) in feet -> | 3 | Lead length in centimeters | 92.3077 | 250MCM | 0.288
Enter Lead radius (r) in Inches | 0.2 | Lead radius in cm | 0.508 | 4/0 | 0.23
Total Inductance in uH | 0.94995 | Total Inductance in uH | 0.94995 | 3/0 | 0.205
uH/foot | 0.31665 | uH/m | 1.0291 | 2/0 | 0.1825
This calculator is based in IEEE Std 518-1982 |  |  |  | 1/0 | 0.1625
| Go to Accurate Lead Length Calculator |  |  | 1 | 0.1445
|  |  |  | 2 | 0.129
|  |  |  | 3 | 0.1145
|  |  |  | 4 | 0.102
|  |  |  | 5 | 0.091
|  |  |  | 6 | 0.081
|  |  |  | 7 | 0.072
|  |  |  | 8 | 0.064
Note on C4: Formula from IEEE Std 518-1982

## Accurate_Calculator
This section creates the current impulse based on time and a double exponential
[21 empty] | Time | Double exponential wave creation |  |  | Current Wave in kA
| To change, just enter the desired characteristics | [10 empty] | Time |  | Arrester | Impulse Current | Lead Voltage | Arrester + Line Lead |  | Inverse of Lead Voltage | Time again | [7 empty] | 1488 | Magnitude Factor |  |  | Enter Current Amplitude (kA) | 31
Enter Peak Crest Time (us) |  | 4 | Enter Inductance (uH/ft) | 0.32 | Max Combined V (kV) | 40.305 |  | Lead Length | Arrester Rating |  |  | 0 | 13.3845 | 19.1208 | 0.03504 | 13.218 | 32.3388 | 26.6025 | -13.218 | 0 | 0.001 | 0.05227 | 1487.2224 | 1487.5728 | 0.03504 |  |  | 52.2703 | Time to Crest Factor |  |  | Enter Time to Crest (us) | 4
Enter Peak Current (kA) |  | 31 | Enter Arrester Rating (kV) | 10 | Go To Inductance Calculator |  | Inductance uH/ft | 0.32 | 10 | Time to Crest (us) | 0.2 | 0.2 | 19.6161 | 28.023 | 4.1657 | 12.0171 | 40.0401 | 31.6332 | -12.0171 | 0.2 | 0.125 | 6.5338 | 1393.8853 | 1435.5419 | 4.1657 |  |  | 0.1 | Scale factor 3 |  |  |  | .
Enter Lead Length (ft) |  | 2 |  |  |  |  | output of lead length spin button | 320 | 10 kV | k | 25 | 0.4 | 20.651 | 29.5014 | 7.921 | 10.8036 | 40.305 | 31.4546 | -10.8036 | 0.4 | 0.25 | 13.0676 | 1305.7233 | 1384.9332 | 7.921 |  |  | 3 | Scale factor 4
[7 empty] | Length in feet | 2 |  | n | 0.08 | 0.6 | 21.2459 | 30.3513 | 11.2971 | 9.6829 | 40.0342 | 30.9288 | -9.6829 | 0.6 | 0.375 | 19.6014 | 1223.1374 | 1336.1086 | 11.2971
[7 empty] | Total Inductance (uH) | 0.64 |  |  |  | 0.8 | 21.6531 | 30.9331 | 14.323 | 8.6485 | 39.5816 | 30.3016 | -8.6485 | 0.8 | 0.5 | 26.1352 | 1145.775 | 1289.0053 | 14.323
[10 empty] | Time to Crest |  | 1 | 21.9546 | 31.3638 | 17.0257 | 7.6944 | 39.0582 | 29.649 | -7.6944 | 1 | 0.625 | 32.669 | 1073.3057 | 1243.5626 | 17.0257
[10 empty] | Magnitude | 200 | 1.2 | 22.1879 | 31.697 | 19.4302 | 6.815 | 38.512 | 29.0029 | -6.815 | 1.2 | 0.75 | 39.2028 | 1005.4201 | 1199.722 | 19.4302
[10 empty] | Magnitude | 100 | 1.4 | 22.3733 | 31.9618 | 21.5599 | 6.0051 | 37.9669 | 28.3783 | -6.0051 | 1.4 | 0.875 | 45.7365 | 941.8281 | 1157.4268 | 21.5599
[12 empty] | 1.6 | 22.5232 | 32.1759 | 23.4365 | 5.2597 | 37.4356 | 27.7829 | -5.2597 | 1.6 | 1 | 52.2703 | 882.2583 | 1116.6228 | 23.4365
[12 empty] | 1.8 | 22.6456 | 32.3509 | 25.0801 | 4.5744 | 36.9253 | 27.22 | -4.5744 | 1.8 | 1.125 | 58.8041 | 826.4562 | 1077.2573 | 25.0801
[12 empty] | 2 | 22.7463 | 32.4947 | 26.5096 | 3.9448 | 36.4395 | 26.6911 | -3.9448 | 2 | 1.25 | 65.3379 | 774.1836 | 1039.2796 | 26.5096
[12 empty] | 2.2 | 22.8291 | 32.6131 | 27.7424 | 3.3671 | 35.9801 | 26.1962 | -3.3671 | 2.2 | 1.375 | 71.8717 | 725.2172 | 1002.6407 | 27.7424
[12 empty] | 2.4 | 22.8972 | 32.7103 | 28.7946 | 2.8375 | 35.5478 | 25.7347 | -2.8375 | 2.4 | 1.5 | 78.4055 | 679.3478 | 967.2935 | 28.7946
[12 empty] | 2.6 | 22.9529 | 32.7898 | 29.6813 | 2.3525 | 35.1423 | 25.3054 | -2.3525 | 2.6 | 1.625 | 84.9393 | 636.3796 | 933.1925 | 29.6813
[12 empty] | 2.8 | 22.9978 | 32.854 | 30.4164 | 1.909 | 34.763 | 24.9068 | -1.909 | 2.8 | 1.75 | 91.4731 | 596.1292 | 900.2936 | 30.4164 | 0.6 | 1 | 1.2 | 2 | 4.2 | 7 | 5 | 6 | 7 | 8 | 9 | 10
[5 empty] | Copyright 2008 ArresterWorks Rev2008.7 | [6 empty] | 3 | 23.0336 | 32.9051 | 31.013 | 1.5039 | 34.409 | 24.5375 | -1.5039 | 3 | 1.875 | 98.0069 | 558.4245 | 868.5546 | 31.013 | 350 | 225 | 175 | 100 | 50 | 30
[12 empty] | 3.2 | 23.0613 | 32.9447 | 31.483 | 1.1345 | 34.0792 | 24.1958 | -1.1345 | 3.2 | 2 | 104.5407 | 523.1047 | 837.9345 | 31.483
[10 empty] | 1 |  | 3.4 | 23.082 | 32.9743 | 31.8375 | 0.7981 | 33.7724 | 23.8801 | -0.7981 | 3.4 | 2.125 | 111.0745 | 490.0187 | 808.3939 | 31.8375 |  | 1 | 5
[10 empty] | #N/A |  | 3.6 | 23.0964 | 32.9949 | 32.0869 | 0.49232 | 33.4872 | 23.5887 | -0.49232 | 3.6 | 2.25 | 117.6083 | 459.0255 | 779.8947 | 32.0869 |  | 150 | 50
[12 empty] | 3.8 | 23.1052 | 33.0075 | 32.2408 | 0.21487 | 33.2224 | 23.3201 | -0.21487 | 3.8 | 2.375 | 124.142 | 429.9925 | 752.4002 | 32.2408
[12 empty] | 4 | 23.1091 | 33.013 | 32.3079 | -0.036344 | 32.9766 | 23.0727 | 0.036344 | 4 | 2.5 | 130.6758 | 402.7959 | 725.875 | 32.3079 | [5 empty] | 50 | 5
[12 empty] | 4.2 | 23.1084 | 33.0121 | 32.2966 | -0.26329 | 32.7488 | 22.8451 | 0.26329 | 4.2 | 2.625 | 137.2096 | 377.3194 | 700.2849 | 32.2966 | [5 empty] | 150 | 1
[12 empty] | 4.4 | 23.1037 | 33.0053 | 32.2143 | -0.4678 | 32.5375 | 22.6359 | 0.4678 | 4.4 | 2.75 | 143.7434 | 353.4542 | 675.597 | 32.2143
[12 empty] | 4.6 | 23.0953 | 32.9933 | 32.0681 | -0.65158 | 32.3417 | 22.4437 | 0.65158 | 4.6 | 2.875 | 150.2772 | 331.0986 | 651.7795 | 32.0681
[12 empty] | 4.8 | 23.0835 | 32.9765 | 31.8645 | -0.81622 | 32.1603 | 22.2673 | 0.81622 | 4.8 | 3 | 156.811 | 310.1569 | 628.8016 | 31.8645
[12 empty] | 5 | 23.0687 | 32.9553 | 31.6094 | -0.96318 | 31.9921 | 22.1055 | 0.96318 | 5 | 3.125 | 163.3448 | 290.5397 | 606.6338 | 31.6094
[12 empty] | 5.2 | 23.0511 | 32.9301 | 31.3084 | -1.0938 | 31.8362 | 21.9572 | 1.0938 | 5.2 | 3.25 | 169.8786 | 272.1633 | 585.2474 | 31.3084
[12 empty] | 5.4 | 23.0308 | 32.9012 | 30.9666 | -1.2095 | 31.6917 | 21.8213 | 1.2095 | 5.4 | 3.375 | 176.4124 | 254.9492 | 564.6151 | 30.9666
[12 empty] | 5.6 | 23.0082 | 32.8689 | 30.5886 | -1.3113 | 31.5576 | 21.6969 | 1.3113 | 5.6 | 3.5 | 182.9462 | 238.8239 | 544.7101 | 30.5886
[12 empty] | 5.8 | 22.9834 | 32.8334 | 30.1788 | -1.4004 | 31.433 | 21.583 | 1.4004 | 5.8 | 3.625 | 189.48 | 223.7185 | 525.5068 | 30.1788
[12 empty] | 6 | 22.9566 | 32.7951 | 29.7412 | -1.4778 | 31.3173 | 21.4788 | 1.4778 | 6 | 3.75 | 196.0138 | 209.5685 | 506.9806 | 29.7412
[12 empty] | 6.2 | 22.9278 | 32.754 | 29.2794 | -1.5444 | 31.2096 | 21.3834 | 1.5444 | 6.2 | 3.875 | 202.5475 | 196.3135 | 489.1074 | 29.2794
[12 empty] | 6.4 | 22.8974 | 32.7105 | 28.7968 | -1.6012 | 31.1093 | 21.2961 | 1.6012 | 6.4 | 4 | 209.0813 | 183.8968 | 471.8644 | 28.7968
[12 empty] | 6.6 | 22.8653 | 32.6647 | 28.2964 | -1.649 | 31.0157 | 21.2163 | 1.649 | 6.6 | 4.125 | 215.6151 | 172.2655 | 455.2292 | 28.2964
[12 empty] | 6.8 | 22.8317 | 32.6167 | 27.7811 | -1.6884 | 30.9282 | 21.1432 | 1.6884 | 6.8 | 4.25 | 222.1489 | 161.3699 | 439.1805 | 27.7811
[12 empty] | 7 | 22.7967 | 32.5667 | 27.2534 | -1.7204 | 30.8463 | 21.0763 | 1.7204 | 7 | 4.375 | 228.6827 | 151.1634 | 423.6976 | 27.2534
[12 empty] | 7.2 | 22.7604 | 32.5148 | 26.7158 | -1.7454 | 30.7695 | 21.015 | 1.7454 | 7.2 | 4.5 | 235.2165 | 141.6024 | 408.7605 | 26.7158
[12 empty] | 7.4 | 22.7229 | 32.4612 | 26.1704 | -1.7641 | 30.6972 | 20.9588 | 1.7641 | 7.4 | 4.625 | 241.7503 | 132.6462 | 394.3501 | 26.1704
[12 empty] | 7.6 | 22.6842 | 32.406 | 25.6191 | -1.777 | 30.6289 | 20.9072 | 1.777 | 7.6 | 4.75 | 248.2841 | 124.2564 | 380.4476 | 25.6191
[12 empty] | 7.8 | 22.6445 | 32.3492 | 25.0638 | -1.7848 | 30.5644 | 20.8597 | 1.7848 | 7.8 | 4.875 | 254.8179 | 116.3973 | 367.0353 | 25.0638
[12 empty] | 8 | 22.6037 | 32.291 | 24.506 | -1.7878 | 30.5032 | 20.8159 | 1.7878 | 8 | 5 | 261.3517 | 109.0353 | 354.0958 | 24.506
[12 empty] | 8.2 | 22.5621 | 32.2315 | 23.9474 | -1.7866 | 30.4449 | 20.7755 | 1.7866 | 8.2 | 5.125 | 267.8855 | 102.1389 | 341.6125 | 23.9474
[12 empty] | 8.4 | 22.5195 | 32.1707 | 23.3891 | -1.7815 | 30.3893 | 20.7381 | 1.7815 | 8.4 | 5.25 | 274.4193 | 95.6787 | 329.5692 | 23.3891
[12 empty] | 8.6 | 22.4762 | 32.1088 | 22.8323 | -1.7729 | 30.3359 | 20.7033 | 1.7729 | 8.6 | 5.375 | 280.953 | 89.6271 | 317.9506 | 22.8323
[12 empty] | 8.8 | 22.432 | 32.0458 | 22.2783 | -1.7612 | 30.2846 | 20.6709 | 1.7612 | 8.8 | 5.5 | 287.4868 | 83.9583 | 306.7415 | 22.2783
[12 empty] | 9 | 22.3872 | 31.9817 | 21.728 | -1.7466 | 30.2351 | 20.6406 | 1.7466 | 9 | 5.625 | 294.0206 | 78.648 | 295.9276 | 21.728
[12 empty] | 9.2 | 22.3417 | 31.9167 | 21.1821 | -1.7296 | 30.187 | 20.612 | 1.7296 | 9.2 | 5.75 | 300.5544 | 73.6736 | 285.4949 | 21.1821
[12 empty] | 9.4 | 22.2955 | 31.8507 | 20.6416 | -1.7104 | 30.1403 | 20.5851 | 1.7104 | 9.4 | 5.875 | 307.0882 | 69.0138 | 275.4301 | 20.6416
[12 empty] | 9.6 | 22.2488 | 31.784 | 20.1071 | -1.6892 | 30.0948 | 20.5596 | 1.6892 | 9.6 | 6 | 313.622 | 64.6487 | 265.72 | 20.1071
[12 empty] | 9.8 | 22.2015 | 31.7164 | 19.5793 | -1.6663 | 30.0501 | 20.5352 | 1.6663 | 9.8 | 6.125 | 320.1558 | 60.5597 | 256.3523 | 19.5793
[12 empty] | 10 | 22.1536 | 31.6481 | 19.0585 | -1.6418 | 30.0062 | 20.5118 | 1.6418 | 10 | 6.25 | 326.6896 | 56.7294 | 247.3149 | 19.0585
[12 empty] | 10.2 | 22.1053 | 31.579 | 18.5455 | -1.6161 | 29.9629 | 20.4892 | 1.6161 | 10.2 | 6.375 | 333.2234 | 53.1413 | 238.596 | 18.5455
[12 empty] | 10.4 | 22.0566 | 31.5094 | 18.0404 | -1.5892 | 29.9201 | 20.4673 | 1.5892 | 10.4 | 6.5 | 339.7572 | 49.7802 | 230.1845 | 18.0404
[12 empty] | 10.6 | 22.0074 | 31.4391 | 17.5438 | -1.5614 | 29.8777 | 20.4459 | 1.5614 | 10.6 | 6.625 | 346.291 | 46.6316 | 222.0696 | 17.5438
[12 empty] | 10.8 | 21.9578 | 31.3682 | 17.0559 | -1.5328 | 29.8354 | 20.425 | 1.5328 | 10.8 | 6.75 | 352.8248 | 43.6822 | 214.2407 | 17.0559
[12 empty] | 11 | 21.9078 | 31.2968 | 16.5769 | 0.96447 | 32.2613 | 22.8722 | -0.96447 | 11 | 6.875 | 359.3585 | 40.9193 | 206.6878 | 16.5769
Interactive Accurate Lead Length Effect Calculator